DRAFT

Best Practice Guidelines for the On Site Decommissioning of  Emergency and Semi-Permanent Raised Level Latrines in Batticaloa.

The issue;

As IDP sites reach the end of their occupation they will need to be rehabilitated to as similar a state as possible to that prior to camp set up. This will entail the ‘removal’ of the onsite sanitation facilities, which in areas of high ground water such as Batticaloa are generally simple raised level latrines with some form of raised open bottomed septic pit. Ideally the contents of these would be removed by gully sucker and treated in appropriate facilities whilst the remaining hole would be in-filled with debris, rubble etc.

Unfortunately not all constructed facilities will be accessable to gully suckers, or the urgency of closure may require decommissioning without prior emptying. Therefore a practical method of safely closing the facility without actually removing the pit contents is required.

This methodology is adapted from one successfully used with standard concrete lined septic pits and soak aways during site closures following the tsunami in Galle district, Sri Lanka.

Assumptions;

Leaving septage within latrine facilities is neither desirable, nor recommended, especially in areas with a high water table. However this is not always an option and therefore the following guidelines have been prepared as a ‘If no other option exists’ approach to the decommissioning of the latrines within the IDP sites.

Safety and Hygiene Considerations;

Working with human waste has associated risks, mainly from infection from a large variety of dangerous pathogens, including bacteria, viruses and helminthes. These pathogens can survive outside of the human body for hugely variable amounts of time. Assorted research papers and studies would suggest anything from three months to three years.

Survival rates tend to be much lower in tropical environments, however there is no definitive time period that can be suggested before the contents of the facilities to be decommissioned would be totally safe to handle.

It is therefore essential that all appropriate safety equipment (gloves, overalls, masks, boots, etc), and washing/disinfecting facilities are available to all personnel, as well as information on associated risks and symptoms of relevant illnesses.

Considerations prior to starting the decommissioning process;

Ownership of the land on which facilities are located should be taken into consideration before decommissioning work is undertaken if the facility is of a permanent variety. Private landowners may wish to retain the toilet, and if the site is owned by a school or church then it may be desirable to donate the facilities for future usage. It is suggested that letters of donation are made clearly transferring the responsibility of future maintenance to the responsible parties involved.

Principles;

Speeding up decomposition is worthwhile, as then nutrients within the waste can be utilised and the toxicology and health risks of potential groundwater contamination reduced.

For rapid decomposition, a high temperature, a carbon source, a pH of between 5.5 and 8, and a large oxygenated surface area are ideally required.

Decomposition of organic matter results in a lowering of pH - the more acidic and therefore hostile the ‘environment’ the slower decomposition will occur. Cement has a pH of 12 whilst sand is neutral at pH7. Therefore it can be assumed broken/crushed cement or blocks added to a pit latrine would increase alkalinity and pH, provide additional surface area for bacterial growth – and also uses up unwanted rubble from the site.

In theory if the pH could be got to above pH10 then the pathogen kill time could be reduced to weeks, this however could reduce the rate of decomposition and result in other contamination issues.

Addition of wood chips or other organic matter is also very useful in aiding the decomposition process as it provides carbon (digestible energy source for bacteria) and air pockets, which will further encourage the breakdown of the septage.

Problems;

- The majority of IDP sites in Batticaloa have been constructed in areas that have an extremely high water table, often under 1 metre below ground surface. Many latrine facilities were therefore dug directly into the water table and comparatively few, if any of the pits have been totally sealed. Therefore the constant ingress of water into pits makes some contamination of the aquifer highly probable and drying out near impossible.

- Many guidelines exist that suggest human waste should be left for a number of years before it is safe to handle. This length of time however is untenable for the majority of sites and agencies and the need for rapid camp closure as well as the issue of ground water contamination is of equal concern. By adding an alkaline medium to the waste it is hoped that the pathogens will be killed off relatively quickly, and by filling in the pits it would be hoped that soil flora and fauna will have access to and rapidly utilize the nutrients from the displaced and rubble mixed septic sludge thus reducing the potential aquifer contamination from nitrates and chlorides.

- There is a variety of differing designs of toilet pit in use. This paper does not have the scope to discuss suitable techniques for each and every one of these designs. The basic principles however will remain the same;

- Latrine contents cannot, for reasons mentioned above, be removed.

- The decomposition of the contents and pathogen kill rate can be accelerated through the addition of an alkaline medium (crushed concrete).

- Which will at the same time assists in filling the hole and uses unwanted site debris.

The actual methods used will undoubtedly need to be adapted to suit each design encountered, and although ideally a one visit decommission strategy, it is likely some facilities will require multiple visits.

Proposed decommission process for raised level latrines;

- Remove all latrine structures and materials from above and around the pits and the access caps from septic pits. Particular care at this point should be taken due to potential health hazards, protective clothing and washing/disinfecting facilities are essential.

- Dig an ‘overflow’ trench from top of pit or tank to absorb displaced fluids. This should be made large enough to allow a large quantity of material to be                                                                                                                                                  placed into the pit or tank. The trench can either be dug around the top of the latrine (curtain drain) or out as a single line drain to work as a ‘leach field’. If space is of no issue, the latter is preferable as a curtain drain will hamper future access, and the leach field will allow dispersement of materials through a greater area of ground. Bacteria and other soil fauna will quickly breakdown and absorb nutrients and contaminants.

- Break through the side of the raised pit wall and allow fluids to drain out into the trench.

- Once the fluid levels have dropped and if the pits are lined, break or smash the areas of lining that are accessible, allowing material to fall into the open pit.

- Carefully add any onsite cement debris. Also add wood chips, ash or any other available organic matter. As these are added, fluids will be displaced and overspill into the overflow trench. Stop adding material once rubble and displaced septage is nearing the top of the pit/tank. Allow displaced fluid to drain down into surrounding soil and backfill trench with soil and site rubble.

- ‘Cap’ the pit/tank with a mound of sand or soil from the raised latrine structure itself to allow for any further settling of the contents.

- If inline with site rehabilitation plant a tree on top of the site of the pit. If not, a larger pile of debris should be made over the filled pit to allow for further subsidence as the contents settle and decomposes further. Capping with concrete should be considered if in a populated and busy area where interference is possible.

- If possible fence off the area to prevent it from being disturbed. Signs in Tamil explaining health risks should also be placed around the site.

NRC Sri Lanka.